## COVER
Request for Proposals (RFP) for Implementation of Renewable Energy & Energy Efficiency (REEE) Measures in Thirty-Four (34) MSMEs and Two (2) Local Communities in Lebanon
“Implementation of Renewable Energy Measures in Agrifood Sectors and Communities” Project - funded by the German Federal Ministry for Economic Cooperation and Development (BMZ) and implemented by the Lebanese Center for Energy Conservation (LCEC) through a Grant Agreement signed between LCEC and the Deutsche Gesellschaft für Internationale Zusammenarbeit (GIZ) GmbH under the framework of the GIZ project “Strengthening the Resilience of Smallholder Farms, Micro and Small Enterprises, and Local Communities (ACE).”
Bill Of Quantities
Client:

## Local Communities - LED Lamps
ACE Project - REEE Measures Local Communities - LED Lighting - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
Rayak Municipality
Scope: Supply, installation, testing, commissioning and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
1 | Removal of existing Sodium Lamps and Installation of Type 1 LED Lamps | 200 | Up to |  | 0
2 | Removal of existing Sodium Lamps and Installation of Type 2 LED Lamps | 430 | Up to |  | 0
| Subtotal – Rayak Municipality – LED Lamps |  |  |  | 0
Kaa El Rim Municipality
Scope: Supply, installation, testing, commissioning and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
1 | Removal of existing Sodium Lamps and Installation of Type 1 LED Lamps | 50 | Up to |  | 0
2 | Removal of existing Sodium Lamps and Installation of Type 2 LED Lamps | 70 | Up to |  | 0
| Subtotal – Kaa El Rim Municipality – LED Lamps |  |  |  | 0
|  |  |  | Grand Total | 0

## Batch 4 MSMEs - Aley BOQ
ACE Project - REEE Measures MSME Systems - Aley Region - General BoQ
Note: Bidders shall submit both unpriced and priced detailed BoQs for all MSMEs covered under the submitted General BoQs.
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
Al Ameer Dairy – Dairy & Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 3.64 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
1 | PV panels (compatible with the existing) |  | pcs |  | 0
2 | Hybrid inverter ≥ 8 kW, single-phase | 1 | pcs |  | 0
3 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
4 | PV mounting structure for the new PV panels | 1 | Ls |  | 0
5 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
6 | Earthing system | 1 | Ls |  | 0
7 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
8 | Documentation, O&M manual & training | 1 | Ls |  | 0
9 | O&M services | 1 | Year |  | 0
| Subtotal – Al Ameer Dairy – Dairy & Processing Facility |  |  |  | 0
Al Hana Group – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 7.2 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
10 | PV panels |  | pcs |  | 0
11 | Hybrid inverter ≥ 8 kW, single-phase | 1 | pcs |  | 0
12 | Lithium battery bank 10 kWh | 1 | pcs |  | 0
13 | PV mounting structure for the new PV panels | 1 | Ls |  | 0
14 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
15 | Earthing system | 1 | Ls |  | 0
16 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
17 | Documentation, O&M manual, & training | 1 | Ls |  | 0
18 | O&M services | 1 | Year |  | 0
| Subtotal – Al Hana Group – Food Production Facility |  |  |  | 0
Home Made Dairy and Mouneh – Dairy & Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 2.4 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
19 | PV panels (compatible with the existing) |  | pcs |  | 0
20 | Hybrid inverter ≥ 8 kW, single-phase | 1 | pcs |  | 0
21 | Lithium battery bank 5 kWh | 1 | pcs |  | 0
22 | PV mounting structure for the new PV panels | 1 | pcs |  | 0
23 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
24 | Earthing system | 1 | Ls |  | 0
25 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
26 | Documentation, O&M manual & training | 1 | Ls |  | 0
27 | O&M services | 1 | Year |  | 0
| Subtotal – Home Made Dairy and Mouneh – Dairy & Processing Facility |  |  |  | 0
Juthoor Al Ard – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 8.4 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
28 | PV panels |  | pcs |  | 0
29 | Hybrid inverter ≥ 8 kW, single-phase | 1 | pcs |  | 0
30 | Lithium battery bank 10 kWh | 1 | pcs |  | 0
31 | PV mounting structure | 1 | Ls |  | 0
32 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
33 | Earthing system | 1 | Ls |  | 0
34 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
35 | Documentation, O&M manual, & training | 1 | Ls |  | 0
36 | O&M services | 1 | Year |  | 0
| Subtotal – Juthoor Al Ard – Food Production Facility |  |  |  | 0
Les Jardins Des Soussens – Agricultural Business
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 3 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
37 | PV panels |  | pcs |  | 0
38 | Hybrid inverter ≥ 5 kW, single-phase | 1 | pcs |  | 0
39 | Lithium battery bank 5 kWh | 1 | pcs |  | 0
40 | PV mounting structure | 1 | Ls |  | 0
41 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
42 | Earthing system | 1 | Ls |  | 0
43 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
44 | Documentation, O&M manual & training | 1 | Ls |  | 0
45 | O&M services | 1 | Year |  | 0
| Subtotal – Les Jardins Des Soussens – Agricultural Facility |  |  |  | 0
Thymescape – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 8.4 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
46 | PV panels |  | pcs |  | 0
47 | Hybrid inverter ≥ 8 kW, single-phase | 1 | pcs |  | 0
48 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
49 | PV mounting structure | 1 | Ls |  | 0
50 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
51 | Earthing system | 1 | Ls |  | 0
52 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
53 | Documentation, O&M manual & training | 1 | Ls |  | 0
54 | O&M services | 1 | Year |  | 0
| Subtotal – Thymescape – Food Production Facility |  |  |  | 0
Al Mawasem Nursery – Agricultural Business
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 4.8 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
55 | PV panels |  | pcs |  | 0
56 | Hybrid inverter ≥ 8 kW, single-phase | 1 | pcs |  | 0
57 | Lithium battery 10 kWh | 1 | pcs |  | 0
58 | Variable Frequency Drive (VFD) 8 kW, single-phase | 1 | pcs |  | 0
59 | PV mounting structure | 1 | Ls |  | 0
60 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
61 | Earthing system | 1 | Ls |  | 0
62 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
63 | Documentation, O&M manual & training | 1 | Ls |  | 0
64 | O&M services | 1 | Year |  | 0
| Subtotal – Al Mawasem Nursery – Agricultural Facility |  |  |  | 0
Dahab B Trabo – Agricultural Business
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 3 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
65 | PV panels |  | pcs |  | 0
66 | Hybrid inverter ≥ 5 kW, single-phase | 1 | pcs |  | 0
67 | Lithium battery 5 kWh | 1 | pcs |  | 0
68 | Irrigation Pump 3 HP | 1 | pcs |  | 0
69 | PV mounting structure | 1 | Ls |  | 0
70 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
71 | Earthing system | 1 | Ls |  | 0
72 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
73 | Documentation, O&M manual, & training | 1 | Ls |  | 0
74 | O&M services | 1 | Year |  | 0
| Subtotal – Dahab B Trabo – Agricultural Business |  |  |  | 0
Del Libano – Pasta Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 25 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
75 | PV panels |  | pcs |  | 0
76 | Hybrid inverter ≥ 40 kW, three-phase |  | pcs |  | 0
77 | Lithium battery bank 30 kWh | 1 | pcs |  | 0
78 | PV mounting structure | 1 | pcs |  | 0
79 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
80 | Earthing system | 1 | Ls |  | 0
81 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
82 | Documentation, O&M manual & training | 1 | Ls |  | 0
83 | O&M services | 1 | Year |  | 0
| Subtotal – Del Libano – Pasta Production Facility |  |  |  | 0
Fromage Blanc – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 6 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
84 | PV panels |  | pcs |  | 0
85 | Hybrid inverter ≥ 8 kW, single-phase | 1 | pcs |  | 0
86 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
87 | Variable Frequency Drive (VFD) 5 kW, single-phase | 1 | pcs |  | 0
88 | PV mounting structure | 1 | Ls |  | 0
89 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
90 | Earthing system | 1 | Ls |  | 0
91 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
92 | Documentation, O&M manual & training | 1 | Ls |  | 0
93 | O&M services | 1 | Year |  | 0
| Subtotal – Fromage Blanc – Food Production Facility |  |  |  | 0
Kheir El Ard – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 5.45 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
94 | PV panels (compatible with the existing) |  | pcs |  | 0
95 | Hybrid inverter ≥ 12 kW, single-phase | 1 | pcs |  | 0
96 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
97 | PV mounting structure | 1 | Ls |  | 0
98 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
99 | Earthing system | 1 | Ls |  | 0
100 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
101 | Documentation, O&M manual & training | 1 | Ls |  | 0
102 | O&M services | 1 | Year |  | 0
| Subtotal – Kheir El Ard – Food Production Facility |  |  |  | 0
Tomagiallo – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 4.2 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
103 | PV panels (compatible with the existing) |  | pcs |  | 0
104 | Hybrid inverter ≥ 8 kW, single-phase | 1 | pcs |  | 0
105 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
106 | PV mounting structure | 1 | Ls |  | 0
107 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
108 | Earthing system | 1 | Ls |  | 0
109 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
110 | Documentation, O&M manual & training | 1 | Ls |  | 0
111 | O&M services | 1 | Year |  | 0
| Subtotal – Tomagiallo – Food Production Facility |  |  |  | 0
|  |  |  | Grand Total | 0

## Batch 4 MSMEs - Chouf BOQ
ACE Project - REEE Measures MSME Systems - Chouf Region - General BoQ
Note: Bidders shall submit both unpriced and priced detailed BoQs for all MSMEs covered under the submitted General BoQs.
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
البان واجبان بتلون – Supermarket
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 7.2 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
1 | PV panels (compatible with the existing) |  | pcs |  | 0
2 | Hybrid inverter 5 kW, single-phase (compatible with the existing) | 2 | pcs |  | 0
3 | Dismantling of the existing PV structure and disconnection of the existing PV panels | 1 | Ls |  | 0
3 | Installation of a new PV mounting structure to accommodate both the existing and new PV panels | 1 | Ls |  | 0
4 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
5 | Earthing system | 1 | Ls |  | 0
6 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
7 | Documentation, O&M manual & training | 1 | Ls |  | 0
8 | O&M services | 1 | Year |  | 0
| Subtotal – البان واجبان بتلون – Supermarket |  |  |  | 0
Dairy Production from Goats – Dairy & Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 5 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
9 | PV panels |  | pcs |  | 0
10 | Hybrid inverter ≥ 5 kW, single-phase | 1 | pcs |  | 0
11 | Lithium battery bank 10 kWh | 1 | pcs |  | 0
12 | PV mounting structure for the new PV panels | 1 | Ls |  | 0
13 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
14 | Earthing system | 1 | Ls |  | 0
15 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
16 | Documentation, O&M manual, & training | 1 | Ls |  | 0
17 | O&M services | 1 | Year |  | 0
| Dairy Production from Goats – Dairy & Processing Facility |  |  |  | 0
Ghanem Mills – Milling Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 15 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
18 | PV panels |  | pcs |  | 0
19 | On-grid inverter ≥ 15 kW, three-phase | 1 | pcs |  | 0
20 | Fuel saving controller | 1 | pcs |  | 0
21 | PV mounting structure for the new PV panels | 1 | pcs |  | 0
22 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
23 | Earthing system | 1 | Ls |  | 0
24 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
25 | Documentation, O&M manual & training | 1 | Ls |  | 0
26 | O&M services | 1 | Year |  | 0
| Subtotal – Ghanem Mills – Milling Facility |  |  |  | 0
Al Ezz – Dairy & Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 12 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
27 | PV panels |  | pcs |  | 0
28 | Hybrid inverter ≥ 12 kW, three-phase | 1 | pcs |  | 0
29 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
30 | PV mounting structure | 1 | Ls |  | 0
31 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
32 | Earthing system | 1 | Ls |  | 0
33 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
34 | Documentation, O&M manual, & training | 1 | Ls |  | 0
35 | O&M services | 1 | Year |  | 0
| Subtotal – Al Ezz – Dairy & Processing Facility |  |  |  | 0
Verdant Fields – Agricultural Business
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 6 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
36 | PV panels |  | pcs |  | 0
37 | Hybrid inverter ≥ 6 kW, single-phase | 1 | pcs |  | 0
38 | Lithium battery bank 10 kWh | 1 | pcs |  | 0
39 | PV mounting structure | 1 | Ls |  | 0
40 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
41 | Earthing system | 1 | Ls |  | 0
42 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
43 | Documentation, O&M manual & training | 1 | Ls |  | 0
44 | O&M services | 1 | Year |  | 0
| Subtotal – Verdant Fields – Agricultural Business |  |  |  | 0
Maroun's Garden – Agricultural Business
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 4.8 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
45 | PV panels |  | pcs |  | 0
46 | Hybrid inverter ≥ 5 kW, single-phase | 1 | pcs |  | 0
47 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
48 | PV mounting structure | 1 | Ls |  | 0
49 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
50 | Earthing system | 1 | Ls |  | 0
51 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
52 | Documentation, O&M manual & training | 1 | Ls |  | 0
53 | O&M services | 1 | Year |  | 0
| Subtotal – Maroun's Garden – Agricultural Business |  |  |  | 0
Al Yasmine Dairy – Dairy & Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 3.6 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
54 | PV panels |  | pcs |  | 0
55 | Hybrid inverter 8 kW, single-phase (compatible with the existing) | 1 | pcs |  | 0
56 | PV mounting structure | 1 | Ls |  | 0
57 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
58 | Earthing system | 1 | Ls |  | 0
59 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
60 | Documentation, O&M manual, & training | 1 | Ls |  | 0
61 | O&M services | 1 | Year |  | 0
| Subtotal – Al Yasmine Dairy – Dairy & Processing Facility |  |  |  | 0
Safa Chicken – Poultry Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 40 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
62 | PV panels |  | pcs |  | 0
63 | On-grid inverter (total capacity ≥ 40 kW, three-phase) |  | pcs |  | 0
64 | Fuel saving controller | 1 | pcs |  | 0
65 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
66 | Earthing system | 1 | Ls |  | 0
67 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
68 | Documentation, O&M manual & training | 1 | Ls |  | 0
69 | O&M services | 1 | Year |  | 0
| Subtotal – Safa Chicken – Poultry Facility |  |  |  | 0
Mushroom Micro-enterprise – Mushroom Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 4.8 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
70 | PV panels |  | pcs |  | 0
71 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
72 | Dismantling of the existing PV structure and disconnection of the existing PV panels | 1 | Ls |  | 0
73 | Installation of new PV panels on a new steel structure | 1 | Ls |  | 0
74 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
75 | Earthing system | 1 | Ls |  | 0
76 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
77 | Documentation, O&M manual & training | 1 | Ls |  | 0
78 | O&M services | 1 | Year |  | 0
| Subtotal – Mushroom Micro-enterprise – Mushroom Production Facility |  |  |  | 0
United Company for Corporation and Development – Milling Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 40 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
79 | PV panels |  | pcs |  | 0
80 | On-grid inverter (total capacity ≥ 40 kW, three-phase) |  | pcs |  | 0
81 | Fuel saving controller | 1 | pcs |  | 0
82 | PV mounting structure | 1 | Ls |  | 0
83 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
84 | Earthing system | 1 | Ls |  | 0
85 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
86 | Documentation, O&M manual & training | 1 | Ls |  | 0
87 | O&M services | 1 | Year |  | 0
| Subtotal – United Company for Corporation and Development – Milling Facility |  |  |  | 0
La Belle Blanche – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 8.54 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
88 | PV panels (compatible with the existing) |  | pcs |  | 0
89 | Hybrid inverter (total capacity ≥ 20 kW,single-phase) |  | pcs |  | 0
90 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
91 | Extension of existing mounting structure | 1 | Ls |  | 0
92 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
93 | Earthing system | 1 | Ls |  | 0
94 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
95 | Documentation, O&M manual & training | 1 | Ls |  | 0
96 | O&M services | 1 | Year |  | 0
| Subtotal – La Belle Blanche – Food Production Facility |  |  |  | 0
Lifeline Hydroponics – Hyrdroponics Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 20.4 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
97 | PV panels |  | pcs |  | 0
98 | Hybrid inverter ≥ 30 kW, three-phase | 1 | pcs |  | 0
99 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
100 | PV mounting structure | 1 | Ls |  | 0
101 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
102 | Earthing system | 1 | Ls |  | 0
103 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
104 | Documentation, O&M manual & training | 1 | Ls |  | 0
105 | O&M services | 1 | Year |  | 0
| Subtotal – Lifeline Hydroponics – Hydroponics Facility |  |  |  | 0
Parmaison – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 3 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
106 | PV panels |  | pcs |  | 0
107 | Hybrid inverter ≥ 5 kW, single-phase | 1 | pcs |  | 0
108 | Lithium battery bank 5 kWh | 1 | pcs |  | 0
109 | PV mounting structure | 1 | Ls |  | 0
110 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
111 | Earthing system | 1 | Ls |  | 0
112 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
113 | Documentation, O&M manual & training | 1 | Ls |  | 0
114 | O&M services | 1 | Year |  | 0
| Subtotal – Parmaison – Food Production Facility |  |  |  | 0
Turath w Mouneh – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 3 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
115 | PV panels |  | pcs |  | 0
116 | Hybrid inverter ≥ 5 kW, single-phase | 1 | pcs |  | 0
117 | Lithium battery bank 5 kWh | 1 | pcs |  | 0
118 | PV mounting structure | 1 | Ls |  | 0
119 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
120 | Earthing system | 1 | Ls |  | 0
121 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
122 | Documentation, O&M manual & training | 1 | Ls |  | 0
123 | O&M services | 1 | Year |  | 0
| Subtotal – Turath w Mouneh – Food Production Facility |  |  |  | 0
|  |  |  | Grand Total | 0

## Batch 4 MSMEs - Zahle BOQ
ACE Project - REEE Measures MSME Systems - Zahle Region - General BoQ
Note: Bidders shall submit both unpriced and priced detailed BoQs for all MSMEs covered under the submitted General BoQs.
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
Sleiman Samaha Nursery – Agricultural Business
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
1 | Lithium battery bank 100 kWh | 1 | pcs |  | 0
2 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
3 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
4 | Documentation, O&M manual & training | 1 | Ls |  | 0
5 | O&M services | 1 | Year |  | 0
| Subtotal – Sleiman Samaha Nursery – Agricultural Business |  |  |  | 0
Plant It – Agricultural Business
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 18 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
6 | PV panels |  | pcs |  | 0
7 | Variable frequency drive (VFD) ≥ 15 kW | 1 | pcs |  | 0
8 | Irrigation pump size 15 HP | 1 | pcs |  | 0
9 | PV mounting structure for the new PV panels | 1 | Ls |  | 0
10 | Fencing | 1 | Lm |  | 0
11 | Civil Works | 1 | Ls |  | 0
12 | All necessiry DC and AC cables, control system, protective devices, and accessories | 1 | Ls |  | 0
13 | Earthing system | 1 | Ls |  | 0
14 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
15 | Documentation, O&M manual, & training | 1 | Ls |  | 0
16 | O&M services | 1 | Year |  | 0
| Subtotal – Plant It – Agricultural Business |  |  |  | 0
Alfa Co Trade - Animal Feed Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 30 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
17 | PV panels |  | pcs |  | 0
18 | On-grid inverter (total capacity ≥ 30 kW, three-phase) |  | pcs |  | 0
19 | Fuel saving controller | 1 | pcs |  | 0
20 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
21 | Earthing system | 1 | Ls |  | 0
22 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
23 | Documentation, O&M manual & training | 1 | Ls |  | 0
24 | O&M services | 1 | Year |  | 0
| Subtotal – Alfa Co Trade |  |  |  | 0
Everest – Cold Storage Facility - Animal Feed Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 13 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
25 | PV Panels |  | pcs |  | 0
26 | Hybrid inverter 12 kW, three-phase (compatible with the existing) | 1 | pcs |  | 0
27 | Lithium battery 5 kWh (compatible with the existing) | 3 | pcs |  | 0
28 | Variable Frequency Drive (VFD) ≥ 15 kW, three-phase | 2 | pcs |  | 0
29 | Variable Frequency Drive (VFD) ≥ 20 kW, three-phase | 1 | pcs |  | 0
30 | Variable Frequency Drive (VFD) ≥ 12 kW, three-phase | 1 | pcs |  | 0
31 | PV mounting structure for the new PV panels | 1 | Ls |  | 0
32 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
33 | Earthing system | 1 | Ls |  | 0
34 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
35 | Documentation, O&M manual, & training | 1 | Ls |  | 0
36 | O&M services | 1 | Year |  | 0
| Subtotal – Everest – Cold Storage Facility |  |  |  | 0
Jam and Leaf – Food Production Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 2.18 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
37 | PV panels (compatible with the existing) |  | pcs |  | 0
38 | Hybrid inverter ≥ 8 kW, single phase | 1 | pcs |  | 0
39 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
40 | PV mounting structure | 1 | Ls |  | 0
41 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
42 | Earthing system | 1 | Ls |  | 0
43 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
44 | Documentation, O&M manual & training | 1 | Ls |  | 0
45 | O&M services | 1 | Year |  | 0
| Subtotal – Jam and Leaf – Food Production Facility |  |  |  | 0
Joury Dairy – Dairy & Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 15 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
46 | PV panels |  | pcs |  | 0
47 | On-grid inverter ≥ 15 kW, three-phase | 1 | pcs |  | 0
48 | PV mounting structure | 1 | Ls |  | 0
49 | All necessiry DC and AC cables, control system, protective devices, and accessories | 1 | Ls |  | 0
50 | Earthing system | 1 | Ls |  | 0
51 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
52 | Documentation, O&M manual & training | 1 | Ls |  | 0
53 | O&M services | 1 | Year |  | 0
| Subtotal – Joury Dairy – Dairy & Processing Facility |  |  |  | 0
Cedars Dairy Farm – Dairy & Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 30 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
54 | PV panels |  | pcs |  | 0
55 | Hybrid inverter 12 kW, three-phase (compatible with the existing) | 2 | pcs |  | 0
56 | PV mounting structure | 1 | Ls |  | 0
57 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
58 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
59 | Documentation, O&M manual, & training | 1 | Ls |  | 0
60 | O&M services | 1 | Year |  | 0
| Subtotal – Cedars Dairy Farm – Dairy & Processing Facility |  |  |  | 0
Eggs With Benefits – Poultry Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). System Capacity: 10 kWp All installation works to be in line with ANNEXES 3 and 6 of this RFP. Yellow cells shall be filled with quantities.
61 | PV panels |  | pcs |  | 0
62 | On-grid inverter ≥ 10 kW, three-phase | 1 | pcs |  | 0
63 | PV mounting structure | 1 | Ls |  | 0
64 | Installation of a dedicated electrical panel board (connection point) for the enterprise | 1 | Ls |  | 0
65 | All necessiry DC and AC cables, control system, protective devices, and accessories | 1 | Ls |  | 0
66 | Earthing system | 1 | Ls |  | 0
67 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
68 | Documentation, O&M manual & training | 1 | Ls |  | 0
69 | O&M services | 1 | Year |  | 0
| Subtotal – Eggs with Benefits – Dairy & Processing Facility |  |  |  | 0
|  |  |  | Grand Total | 0